## Slide 1
Crispy: a Python Based User Interface for Core-Level Spectroscopy Calculations
Marius Retegan

## Slide 2: Multiplet Calculations with Quanty
http://quanty.org

## Slide 3: Crispy: User Interface For Multiplet Calculations

## Slide 4: How Is Crispy Developed?

## Slide 5: silx: Scientific Library for Experimentalists
… a collection of Python packages to support the development of data assessment, reduction and analysis at synchrotron radiation facilities.
https://www.silx.org

## Slide 6: Crispy: Features
Quanty calculations:
  transition metals, lanthanides, and actinides
  XAS, XES, XPS, and RIXS
  a large number of edges
  Oh, D4h, C3v, Td, and D3h symmetries
The interface:
  save and load functionality
  logging console to display the progress of a calculation
  a details dialog showing the details of a calculation
  interactive broadening using FFT
  runs on all major operating systems
  easy-to-use installers for Windows and macOS

## Slide 7: Getting the Program
http://esrf.eu/computing/scientific/crispy
crispy + esrf

## Slide 8: I Want a New Feature, I Found a Bug, …
https://etherpad.net/p/crispy
https://github.com/mretegan/crispy
marius.retegan@esrf.fr

## Slide 9: Things to Remember!
Any modification to the combo boxes will reset all parameters to default values.
Always press Return (Enter) after changing a value in any of the input boxes.

## Slide 10
Calculating the L2,3 XAS Spectrum of NiO

## Slide 11: Calculating the L2,3 XAS Spectrum of NiO
Alders et al., Phys. Rev. B, 1998, 57 (18), 11623–11631
Experimental details:
  20 monolayer NiO(100) thin film
  temperature (T = 298 K)
  θ = 90° normal incidence
http://tiny.cc/multiplets
Measured spectrum:

## Slide 12: Crystal Field Multiplet Calculations
  Calculate the spectrum using the default parameters, but increase the Gaussian broadening to 0.4. Identify the L2 and L3 edges in the calculated spectrum.
  Run a calculation with the scaling of the 2p spin orbit coupling constant, ζ(2p), set to 0.5. After the calculation finishes, set this value back to 1.0, and run a second calculation with the 3d spin orbit coupling, ζ(3d) set to 0.5. Which interaction affects the most the energy separation between the L2 and L3 edges? Check that the energy separation between the two edges is close to 3/2·ζ(2p).
  Change the default scaling of the Slater integrals (κ) to 0.6, 0.4, and 0.2 and rerun the calculation. Overlay the four spectra to see the evolution of the main peak and its high energy shoulder when the scaling parameter is decreased.

## Slide 13: Ligand Field Multiplet Calculations
  Load the experimental spectrum (Tools ➝ Load experimental data) from the NiO folder.
  Run a calculation using the following parameters:
      κ = 0.9, U(3d,3d) = 7.5 eV, U(2p,3d) = 8.5 eV (Atomic)
      10Dq(3d) = 0.7 eV (Crystal Field)
      Δ(3d,Ld) = 4.3 eV, Veg(3d,Ld) = 2.0 eV, Vt2g(3d,Ld) = 1.0 eV, 10Dq(Ld) = 1.4 eV (3d-Ligands Hybridization (LCMT) )
  Repeat the above calculation while varying Δ between 0.0 and 10.0 eV. Notice the changes in the number of the metal 3d and the ligand electrons (<N_3d> and <N_Ld> in the logging window). What happens if Δ is negative?
  Try to get a better agreement with the experimental spectrum by varying the crystal field parameters, 10Dq(3d) and 10Dq(Ld), and the hopping integrals, Veg(3d,Ld) and Vt2g(3d,Ld).

## Slide 14
Spin Transitions in Iron Compounds

## Slide 15: Following Spin Transition in Fe3+
Westre et al., J. Am. Chem. Soc., 1997, 119 (27), 6297–6314
Write the electronic configuration of Fe3+. Show that there are two ways to fill the 3d orbitals, leading to a high spin (S = 5/2) and a low spin ground state (S = 1/2).
Run two K pre-edge calculations for Fe3+ in an octahedral crystal field, one with 10Dq set to 2.0 eV and 3.3 eV.
Change the 10Dq value from 2.6 to 3.6 eV in steps of 0.1 eV. At what value do you observe the spin transition?

## Slide 16
XMCD and Sum Rules

## Slide 17: Application of the Sum-Rules to FeTp
Jafri et al., Inorg. Chem., 2016, 55 (14), 6980–6987

## Slide 18: The Magneto-Optical Sum Rules

## Slide 19: Sum Rules in Practice
The sum rules can provide very useful information on the magnetic electronic
structure by separating the orbit and spin parts of the magnetization.
Origin of problems in the application of the sum rules:
Removal of the transitions towards continuum states is done by subtracting parameterized arctangent functions.
The cutoff energy between L3 and L2 edges in the XMCD spectrum.
Intermixing of L3 and L2.

## Slide 20: Experimental Data
Experimental details:
  the metal atom in FeTp is Fe3+
  temperature (T = 2 K)
  magnetic field (B = 6.5 T)
http://tiny.cc/multiplets
Measured spectra:

## Slide 21: Calculations Using Octahedral (Oh) Symmetry
 | ⟨Sz⟩ | ⟨Lz⟩ | ⟨Tz⟩
Jafri et al. | −0.1786 | −0.8521 | −0.0523
Calculate the spectrum using the following parameters:
    Lorentzian FWHM: 0.5 for L3 and 1.0 for L2
    Gaussian FWHM: 0.24
    scale factors: Fk = Gk = 0.7, zeta = 1.0
After the first calculation, open the “Details” dialog and normalize the spectrum to the maximum. Load the experimental spectrum (FeTp_Iso.dat)
Increase the 10Dq value in steps of 0.5. Note the effect on the calculated spectrum. Are there any feature that start to appear in the spectrum for larger 10Dq?
Note the expectation values of the spin (S), orbital (L), and magnetic dipole (T) operators for 10Dq = 2.8 eV. How do they compare with the calculations from the original publication?

## Slide 22: Ligand Field Calculation in Octahedral Symmetry
Add the metal-ligand hybridization (MLCT term) with the following parameters: Δi = 3.0, Δf = 3.4, V(eg) = −0.8, V(t2g) = 1.8.
Note the additional features appearing in the spectrum and the changes in the expectation values; compare them with the ones from the original publication.
 | ⟨Sz⟩ | ⟨Lz⟩ | ⟨Tz⟩
Jafri et al. | −0.1704 | −0.7754 | −0.0594
Hocking et al., J. Am. Chem. Soc., 2006, 128 (32), 10442–10451

## Slide 23: In Search of the Missing Peak
Change the symmetry to C3v and rerun the calculation using the following parameters for the crystal field:
  Dq = 0.28 eV (≡ 10Dq = 2.8 eV)
  Dσ = 0.07 eV
  Dτ = 0.12 eV
Do you manage to reproduce the feature f?
t2g
eg
e
a1
e

## Slide 24: Utility of Multiplet Calculations
What is the value of ⟨Tz⟩?
Test the validity of the sum rules and determine the origin of their potential failures.